## Slide 1: Regulation of non-structural elements in NZ
SPONSE 3rd International Workshop
31 March 2016
Nick Locke

## Slide 2: NZ building controls
Building Code
Building
Act
Cited Standards
Acceptable Solutions
Verification Methods
Product Certification
deemed to comply
Standards
MBIE Guidance
other specific design
alternative pathway
Building Code Compliance
building regulations
Law

## Slide 3: Building Act
Building Code
Building
Act
Cited Standards
Acceptable Solutions
Verification Methods
Product Certification
Standards
MBIE Guidance
other specific design
building regulations
comply with the Building Code
building consents
building warrant of fitness
alterations & change of use
earthquake prone buildings

## Slide 4: Building Code
Building Code
Building
Act
Cited Standards
Acceptable Solutions
Verification Methods
Product Certification
Standards
MBIE Guidance
other specific design
building regulations
Functional requirement
B1.2 Buildings, building elements and sitework shall withstand the combination of loads that they are likely to experience during construction or alteration and throughout their lives.
Performance
B1.3.1 Buildings, building elements and sitework shall have a low probability of rupturing, becoming unstable, losing equilibrium, or collapsing during construction or alteration and throughout their lives.

## Slide 5: Standards
Building Code
Building
Act
Cited Standards
Acceptable Solutions
Verification Methods
Product Certification
Standards
MBIE Guidance
other specific design
building regulations
NZS 1170.5
NZS 4219
NZS 4541
NZS 4510
AS/NZS 2785
NZS 4104

## Slide 6: Problems
poor seismic performance of NSE
NSE design and construction can be poorly coordinated
responsibilities for NSE can be poorly defined / understood
design and construction can be misaligned with consent process
uncertainty about required seismic performance of NSE

## Slide 7: Project objectives
improve the seismic performance of NSE
clarify seismic requirements for NSE in new and existing buildings
revise relevant design Standards
provide guidance on building consent processes, documentation and construction monitoring
improve awareness and understanding of seismic requirements for NSE

## Slide 8: Project plan
Jan 2016
Jan 2017
Jan 2018
2015
Steering Group
research: - risks of failures
- economics
- Standards & practices
- existing building survey
clarify performance of NSE in new & existing buildings
guidance for existing buildings
update Standards and B1/VM1 for NSE in new buildings
training and education
technical experts / working groups
problem statements and work packages

## Slide 9: Steering Group
Insurance Council New Zealand
Property Council New Zealand
New Zealand Institute of Architects
Institution of Professional Engineers New Zealand
New Zealand Society for Earthquake Engineering
Climate Control Companies Association
Association of Wall and Ceiling Industries
Wellington City Council
University of Canterbury
Earthquake Commission (EQC)
MBIE

## Slide 10: Research
Estimating the costs of designing, consenting, constructing and maintaining seismic performance of non-structural elements in new buildings
Estimating the risk to life safety during earthquakes from non-structural elements in commercial buildings in New Zealand
Review of international practice
Survey of seismic restraint of existing building services