## Slide 1
CONTENT SLIDING RESEARCH AT UNIVERITY OF CANTERBURY
Third International Workshop
on Seismic Performance
of Non-structural Elements (SPONSE)
Christchurch, New Zealand
31st March 2016
Gregory MacRae
Trevor Yeow and Rajesh Dhakal
University of Canterbury, Christchurch
New Zealand
Notes: Many undergraduate students and a postdoc

## Slide 2: WHY CONTENTS?
POTENTIAL FOR INJURY
From Yeow, NZSEE, 2014
Notes: References needed

## Slide 3: WHY CONTENTS?
Figures obtained from FEMA E-74
on 17th March 2013
From Yeow, NZSEE, 2014
POTENTIAL FOR DAMAGE / LOSS
Notes: References needed

## Slide 4: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 5: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 6: 1. DEMAND STUDY
Acceleration Estimation (Dantanarayana et al. 2011)
Impetus:
NZS1170.5
from Shelton
Notes: Combined effort
References at end
Available on website

## Slide 7: 1. DEMAND STUDY
Modelling: - Regular Shear Structures
Acceleration Estimation (Dantanarayana et al. 2011)
Stick models calibrated to represent the performance of more realistic shear and flexural frames are used
Tagawa et al. 2005, Sadashiva et al. (2009)
Shear Continuous Gravity
Column Column Column
Notes: Combined effort
References at end
Available on website

## Slide 8: 1. DEMAND STUDY
Modelling: - Regular Structures
Shear 1
Stiffness Varies with Height
Flexural
Shear 2
Constant stiffness
Acceleration Estimation (Dantanarayana et al. 2011)
Following Sadashiva et al. (2009)
Notes: Combined effort
References at end
Available on website

## Slide 9: 1. DEMAND STUDY
At the push of a button:
Buildings are designed with for
a specific location with different
- heights, N
- lateral force reduction factors, R
- stiffness/strength distributions over height
(shear type and flexural)
- target peak drifts
They are then analyzed with a suite of ground motions
Results are extracted and plotted in a useful form
Details are given by Sadashiva et al. (2009)
Acceleration Estimation (Dantanarayana et al. 2011)
Notes: Combined effort
References at end
Available on website

## Slide 10: 1. DEMAND STUDY
Response:
9 storey
frame
General finding
– 84th percentile accelerations generally conservative but not
unreasonable for range of cases considered
84th percentile values
Acceleration Estimation (Dantanarayana et al. 2011)
Notes: Combined effort
References at end
Available on website

## Slide 11: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 12: 2. SLIDING MECHANICS
F = Afloorm < μmg
Sliding will not occur until:
Mass, m
Sliding Initiation (English et al. 2011)
Mass, m
D
Notes: Sliding won’t occur till this is reached

## Slide 13: 2. SLIDING MECHANICS
μg
μmg
-μmg
Acc
Vel
Disp
Content Sliding
C
D
D
B
A
B
A
GENERAL BEHAVIOUR
A: Separation occurs
B: Floor reaches peak acceleration, starts to move in opposite direction
C: Accelerations match, but no reattachment occurs
D: Velocities match, reattachment occurs
μg
Sliding Initiation – Impulse example (Lin et al. 2012)
CNFESD
a
time
Notes: INJURY PHOTO

## Slide 14: 2. SLIDING MECHANICS
Contents Movement (Lin et al. 2014)
Full equations for CNFESD by Lin 2014, approximation by Yeow, JAE (2016)
Notes: INJURY PHOTO

## Slide 15: 2. SLIDING MECHANICS
Contents Movement (Lin et al. 2014)
Impulse Record
Notes: INJURY PHOTO

## Slide 16: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 17: 2. SLIDING MECHANICS
Contents Movement (Yeow. 2016)
Analysis details: - 2011 Chch Botanical Gardens E-W ground motion component, unscaled - T = 1.5s, elastic SDOF building - Friction coefficient = 0.4, unobstructed sliding
Total Relative to Ground Sliding
Notes: INJURY PHOTO

## Slide 18
Contents Sliding (m)
Strength Reduction Factor, R
3. SLIDING RESPONSE
Contents Movement (English et al., Lin et al.)
Elastic Structure
Notes: Combined effort
References at end
Available on website

## Slide 19
3. SLIDING RESPONSE
Estimating FE Sliding Displacement (Yeow et al. JAE, 2016)
Notes: Combined effort
References at end
Available on website

## Slide 20
Contents Sliding (m)
Strength Reduction Factor, R
3. SLIDING RESPONSE
Sliding Dependence on R (English et al., Lin et al.)
Notes: Combined effort
References at end
Available on website

## Slide 21
3. SLIDING RESPONSE
Obstructed Sliding Effect (Cain et al., 2013)
D
5% damping
La9, Tn = 1.3s
m
Notes: Combined effort
References at end
Available on website

## Slide 22
3. SLIDING RESPONSE
Obstructed Sliding Effect (Cain et al., 2013)
---- Obstructed
---- Unobstructed
SAC La10in50 suite, z = 5% (tangent stiffness proportional), m = 0.25
(Yeow et al., 2013)
COR = 1
Notes: Combined effort
References at end
Available on website

## Slide 23
3. SLIDING RESPONSE
Building Height Effect (Cain et al., 2013)
SAC La10in50 suite, z = 5% (tangent stiffness proportional), m = 0.25
---- Obstructed
---- Unobstructed
50th %ile
84th %ile
Notes: Combined effort
References at end
Available on website

## Slide 24: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 25
  Hypothesis: Hysteresis loops with a high increase in stiffness at high velocity can cause higher contents and people damage. (MacRae, 2010)
F
D
http://upload.wikimedia.org/wikipedia/commons/7/79/Motorbike_rider_mono.jpg
http://neilhellmanlibrary.files.wordpress.com/2007/07/wall.jpg
4. HYSTERESIS EFFECT
Notes: Background leads to NEED

## Slide 26
  E.g. Loops with increase in stiffness at zero velocity
4. HYSTERESIS EFFECT
  English et al. (2011)
  Loops with increase in stiffness at significant velocity
  E.g. Rocking
  wall/frame
  E.g. Buckling brace or
  steel plate shear wall
Notes: Combined effort
References at end
Available on website

## Slide 27
What is the difference between the
- motorbike situation, and
- the person in a rocking building?
F
D
http://upload.wikimedia.org/wikipedia/commons/7/79/Motorbike_rider_mono.jpg
MacRae G. A., 2010. “Some Steel Seismic Research Issues”, in Proceedings of the Steel Structures Workshop 2010, Research Directions for Steel Structures, compiled by MacRae G. A. and Clifton G. C., University of Canterbury, 13-14 April.
Is it simply that:
the person on the motorbike has protection?
Rocking (post-tensioned and slackness) systems
ROCKING FRAMES
P
D
4. HYSTERESIS EFFECT
Notes: 27
Background leads to NEED

## Slide 28
m = 0.25, R = 2.0
La10in50 records
Lin S. L, MacRae G. A., Yeow T. Z, Dhakal R. P. and English R., “Contents Sliding Response Spectra”, NZSEE Conference, April 2012.
Contents Sliding Displacement (m)
Structural Period (s)
4. HYSTERESIS EFFECT
  Sliding for different loops
Notes: Things not discussed:
- Decision making tools
- Extended Direct Analysis
-

## Slide 29: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 30
Plywood Base
Nylon Carpet
Shake Table
Length:
3.5 m
Width
2.0 m
Stroke
+/- 0.12 m
5. EXPERIMENTAL STUDIES
Shaking Table Tests (Yeow et al. 2014)
Notes: INJURY PHOTO

## Slide 31
NYLON
CARPET
VINYL
Mass
24.5 kg
5. EXPERIMENTAL STUDIES
(Yeow et al. 2014)
Notes: INJURY PHOTO

## Slide 32
Pulley System
Added Mass (M)
Rope
Mg
Mg
STATIC FRICTION TEST
5. EXPERIMENTAL STUDIES
(Yeow et al. 2014)
Notes: INJURY PHOTO

## Slide 33
Reaction Frame
Steel Rod
Load Cell
Shake Table
Reaction Frame
Displaced at constant rate
Load cell records force (Frecorded) required to keep content stationary
KINETIC FRICTION TEST
5. EXPERIMENTAL STUDIES
(Yeow et al. 2014)
Notes: INJURY PHOTO

## Slide 34
5. EXPERIMENTAL STUDIES
(Yeow et al. 2014)
Tracking software used.
Notes: INJURY PHOTO

## Slide 35
(24.5 kg)
Carpet Flooring – Varying Displacement Rate
Static Test
Kinetic Test
Increasing Rel
Velocity
5. EXPERIMENTAL STUDIES
(Yeow et al. 2014)
Notes: INJURY PHOTO

## Slide 36
5. EXPERIMENTAL STUDIES
(Yeow et al. 2014)
For other surfaces and loading types the Colomb friction approach seemed reasonable overall (NZSEE, 2014)
Notes: INJURY PHOTO

## Slide 37: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 38
SDOF STUDIES (Yeow Stessa 2015)
μ = 0.1
δS (m)
6. BUILDING STIFFNESS EFFECT
Stiffening building often decreases δS!

## Slide 39
Red Book Building (Bull and Brunsdon, 2006)
29.45m
29.45m
3 @ 7.35m
3 @ 7.35m
3.7m
3.7m
3.7m
3.7m
CASE STUDY BUILDINGS
4m
9@3.6m
3@7.35m
3.7m
3.7m
Elevation View
Plan View
36.4m
Frame Structure
Wall Structure
Tframe = 2.02s
Twall = 1.3s
Costs $600,000 more than frame building
Designed to maximum allowed ductility
6. BUILDING STIFFNESS EFFECT

## Slide 40
Multistorey Effect
6. BUILDING STIFFNESS EFFECT
Yeow et al. Wall Building Stiffness and Strength Effect on Content Sliding in Wellington Seismic Conditions, 2016)
Shorter period buildings often have lower δS!
Stiff buildings are best!
m = 0.1
10in50 records
R = 1

## Slide 41: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 42
(i) Ground Motion
SEISMIC LOSS ASSESSMENT FRAMEWORK
Rupture
FAULT
SITE
(ii) Response
(iii) Damage
(iv) Losses
Damage
Death/Injury
Downtime
PEER (2006)
7. INJURY CONSIDERATIONS
(Yeow NZSEE 2013)

## Slide 43: OUTLINE
No existing model considers all of the following:
Usage for building specific cases
Time occupancy relationships
Non-uniform distribution of occupants
Injury due to being struck by furniture [passive]
Injury due to loss of balance and falling [active]
Injury severity and costs
7. INJURY CONSIDERATIONS
Yeow 2014
(Yeow NZSEE 2013)

## Slide 44: OUTLINE
Obtain floor acceleration demand
Input furniture toppling and retention of balance fragility functions
2) Obtain occupant location
3) Assess injury source
Monte Carlo Simulations
1) Obtain number of occupants in room
4) Assess injury severity and associated losses in $
For Each Occupant
5) Sum up total losses
METHODOLOGY FOR A SINGLE BUILDING
7. INJURY CONSIDERATIONS
(Yeow NZSEE 2013)

## Slide 45: OUTLINE
CASE STUDY ROOM
N
5.4m
3.2m
0.65m
FC
1
FC
2
FC
3
D1
D2
D3
D4
BS1
BS2
MD1
MD2
7. INJURY CONSIDERATIONS
(Yeow NZSEE 2013)

## Slide 46
P(number = n) = ST(number = n)
STtotal
STEP 1 – OBTAIN NUMBER OF OCCUPANTS
7. INJURY CONSIDERATIONS
(Yeow NZSEE 2013)
Notes: Show plot of occupants with time along with a gif of people entering and exiting room

## Slide 47
N
5.4m
3.2m
0.65m
FC
1
FC
2
FC
3
D1
D2
D3
D4
BS1
BS2
MD1
MD2
Occupant Location
7. INJURY CONSIDERATIONS
Step 2 - Obtain occupant locations
(Yeow NZSEE 2013)

## Slide 48
STEP 3 – ASSESS INJURY SOURCE
Type 1 - Loss of balance
Graaf and Weperen (1997)
lfalling = ln(0.08g), zfalling = 0.25
Type 2 - Toppling of content
Kaneko and Hayashi (2004)
Type 3 – Sliding of content
i.e., books falling off shelves, sliding of photocopiers
Type 4 – Overhead hazards
Considered in 2013 study
(A more rigorous approach is in Yeow 2016)
7. INJURY CONSIDERATIONS
(Yeow NZSEE 2013)

## Slide 49
If “CAPACITY” < “DEMAND”, injury from source type will occur
For occupant losing balance and falling:
If randdemand = 0.450, randcap,fall = 0.701:
Occupant will fall during event
= 0.091g
7. INJURY CONSIDERATIONS
STEP 3 – ASSESS INJURY SOURCE
(Yeow NZSEE 2013)
Notes: CHANGE EQUATIONS

## Slide 50
N
5.4m
3.2m
0.65m
FC
1
FC
2
FC
3
D1
D2
D3
D4
BS1
BS2
MD1
MD2
Occupant Location
Occupant
Fall
Zone
7. INJURY CONSIDERATIONS
STEP 3 – ASSESS INJURY SOURCE
(Yeow NZSEE 2013)

## Slide 51
3.4m
θ1
θ2
θ1 = 100o, θ2 = 260o
Fall to floor
Fall onto content
STEP 3 – ASSESS INJURY SOURCE
7. INJURY CONSIDERATIONS
(Yeow NZSEE 2013)

## Slide 52
Source | Angle | Probability based on angle ratio | Cumulative probability
Falling to floor | 100o | 27.8% | 27.8%
Falling onto obstacles | 260o | 72.2% | 100%
e.g. Random number generator gives = 0.877
Occupant lost balance and fell onto content
7. INJURY CONSIDERATIONS
STEP 3 – ASSESS INJURY SOURCE
(Yeow NZSEE 2013)

## Slide 53
STEP 4 – ASSESS INJURY SEVERITY
Severity | Value of Injury
Serious | $325,000
Minor | $17,000
Insignificant | $1000
None | $0
Fragility curves to link source of injury to severity in development. Currently assume falling onto content corresponds to minor injury.
$17,000 loss for single occupant
NZTA (2010)
7. INJURY CONSIDERATIONS
(Yeow NZSEE 2013)

## Slide 54
STEP 5 – SUM UP TOTAL LOSSES
Occupant | Injury Source | Cost
1 | Fall onto obstacle | $17,000
2 | Hit by bookshelf | $325,000
3 | None | 0
4 | Fall onto obstacle | $17,000
TOTAL |  | $359,000
Repeat steps 2 – 4 for other 3 occupants present in room
For this trial, total cost due to injury is $359,000
7. INJURY CONSIDERATIONS

## Slide 55
CASE STUDY FINDINGS FOR ROOM CONSIDERED
Injury cost distribution (100,000 trials)
7. INJURY CONSIDERATIONS

## Slide 56: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 57: 8. RELATED STUDIES
a) Slab Sliding Effects (Iihoshi, MacRae, Chase Rodgers, 2015)
Notes: Combined effort
References at end
Available on website

## Slide 58: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Impetus Questions:
- If a brick lays a certain distance from a
building, what was the shaking intensity?
- Where should a cordon be placed?
MacRae, Feb 2011)
Notes: Combined effort
References at end
Available on website

## Slide 59: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Notes: Combined effort
References at end
Available on website

## Slide 60: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Notes: Combined effort
References at end
Available on website

## Slide 61: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Notes: Combined effort
References at end
Available on website

## Slide 62: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Notes: Combined effort
References at end
Available on website

## Slide 63: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Notes: Combined effort
References at end
Available on website

## Slide 64: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Notes: Combined effort
References at end
Available on website

## Slide 65: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Hysteretic behaviour considerations
5) Experimental Studies
6) Building stiffness considerations
7) Injury estimation
8) Related work
Notes: Combined effort
References at end
Available on website

## Slide 66: CONCLUSIONS
  Studies on contents sliding during earthquake shaking conducted at UC are described. It is shown that:
  1) Acceleration demands may be estimated using simple models.
2) The mechanics of sliding on a SDOF elastic structure under impulse and free vibration can be explained and equations modelling it were developed. Total velocity, as well as acceleration, gives a much better indication of sliding displacement.
3) During earthquake shaking
- contents sliding movements could be approximated by the first excursion sliding displacement from free vibration after impulse.
- during one-way sliding, sliding increased by 2-3 times on average
4) Structures with increase in stiffness at high velocity had greater
sliding displacements
Notes: Combined effort
References at end
Available on website

## Slide 67: CONCLUSIONS
5) A Coulomb model can approximate contents’ experimental sliding
6) Stiffer buildings generally had lower sliding displacements
7) Injury modelling, due to things falling on people, or people falling on things, was conducted considering contents effects.
8) Research related to sliding of contents was described including slab sliding and projectile motion of items
References are provided in abstract. Most of these are online.
Notes: Combined effort
References at end
Available on website

## Slide 68: ACKNOWLEDGEMENTS
5 Undergraduate Students (Dantanarayana, English, Cain, Riley, Bruyere)
2 Post-doctoral researchers (Lin, Iihoshi)
UC Doctoral Scholarship/NZSEE Research Scholarship (2012)/EQC Funding assistance for Yeow
Technical Staff: John Maley, Alan Poynter, and other lab techs - Assistance in setting up and running table
The Quake Centre for sponsoring the workshop
Notes: INJURY PHOTO

## Slide 69
Questions?
Notes: INJURY PHOTO

## Slide 71: OUTLINE
1) Structure acceleration demands
2) Simple loading sliding mechanics
3) Earthquake shaking sliding estimation
4) Experimental Studies
5) Building stiffness considerations
6) Hysteretic behaviour considerations
7) Injury estimation
8) Contents anchorage benefit
9) Related work
Notes: Combined effort
References at end
Available on website

## Slide 72: OUTLINE
1) Questions
2) Demand Study - Accelerations (Dant., 2011)
3) Contents Response Numerical Studies
English et al. (2011), Lin et al. (2013), Cain et al. (2013)
4) Contents Response Experimental Studies (Yeow, 2014)
5) Using Contents Information - Yeow (2013-2016)
  Contents in loss estimation
  Contents in injury prediction
6) Related Studies
  Slab Sliding (Iihoshi, 2013)
  Projectile motion (Bruyere, 2014)
7) Conclusions
Notes: Combined effort
References at end
Available on website

## Slide 73
Increasing
Mass
FRICTIONAL BEHAVIOUR
Carpet Flooring – Varying Displacement Rate
Static Test
Kinetic Test
Notes: INJURY PHOTO

## Slide 74
Why is Content Sliding Important?
Mechanics of content sliding/Objectives
Experimental Setup
Frictional Behavior
Sliding Behavior
Comparison against Analytical Methods
Conclusions
OUTLINE OF PRESENTATION

## Slide 75
1
2
3
4
f = 2.0 Hz, Damplitude = 60 mm
Subsequent Reversals
Notes: INJURY PHOTO

## Slide 76
Why is Content Sliding Important?
Mechanics of content sliding/Objectives
Experimental Setup
Frictional Behavior
Sliding Behavior
Comparison against Analytical Methods
Conclusions
OUTLINE OF PRESENTATION

## Slide 77
1
2
3
4
5
6
7
8
Assumed occupant has 70% probability to be seated at a desk (sub-area 2, 5, 6 and 8).
Probabilities further divided proportional to ratio of areas
(0,0)
S-N (y)
W-E (x)
Step 2 - Obtain occupant location
7. INJURY CONSIDERATIONS

## Slide 78
Sub-area | Area | Probability of occupancy | Cumulative probability
1 | 1.3 | 0.058 | 0.058
2 | 0.63 | 0.175 | 0.233
3 | 1.55 | 0.069 | 0.302
4 | 2.97 | 0.132 | 0.434
5 | 0.63 | 0.175 | 0.609
6 | 0.63 | 0.175 | 0.784
7 | 0.92 | 0.041 | 0.825
8 | 0.63 | 0.175 | 1.000
e.g. Random number generator gives = 0.675
Occupant located in sub-area 6
Step 2 - Obtain occupant location
7. INJURY CONSIDERATIONS

## Slide 79
SUB-AREA 6
(3.6 m, 2 m)
1.15 m
0.55 m
Step 2 - Obtain occupant location more precisely
7. INJURY CONSIDERATIONS

## Slide 80
Number of Occupants (n) | P (number = n) | P (number < n)
0 | 0.5 | 0.5
1 | 0.03 | 0.53
2 | 0.1 | 0.63
3 | 0.07 | 0.7
4 | 0.25 | 0.95
5 | 0.03 | 0.98
6 | 0.02 | 1
e.g. Random number generator gives = 0.713
4 people present in room
7. INJURY CONSIDERATIONS
STEP 1 – OBTAIN NUMBER OF OCCUPANTS

## Slide 81
STEP 2 – OBTAIN OCCUPANT LOCATION
Sub-area | SW coordinate | W-E length (m) | S-N length (m)
6 | (3.6, 2) | 1.15 | 0.55
e.g. randx = 0.475, randy = 0.0392
Occupant located at coordinates
(4.15m, 2.02m)
Step 2 - Obtain occupant location more precisely

## Slide 82
3. SLIDING RESPONSE
Obstructed Sliding Effect (Cain et al., 2013)
5% damping, La10in50 suite
m = 0.25
Notes: Combined effort
References at end
Available on website

## Slide 83
3. SLIDING RESPONSE
Obstructed Sliding Effect (Cain et al., 2013)
(Yeow et al., 2013)
Notes: Combined effort
References at end
Available on website

## Slide 84
  Contents Sliding Spectra LA10in50 records
Contents Sliding (m)
  R = 4, m = 0.25, z = 5%
Sliding Dependence on Hysteresis Loop (English; Lin)
6. HYSTERESIS EFFECT
Notes: Combined effort
References at end
Available on website

## Slide 85
1 in 500 year shaking
6. BUILDING STIFFNESS EFFECT

## Slide 86
H/3
H
6. BUILDING STIFFNESS EFFECT

## Slide 87
CONTENT SLIDING MECHANICS
Time (s)
1.0
2.0
3.0
4.0
0.0
Content Slide Disp
Total
Disp
Total
Vel
Total
Acc
Shake Table Content
(Yeow et al., 2014)
2
Sliding Initiation
Total floor acc, AFT>µg
Sliding Termination
Content’s velocity relative to floor is zero
µg
Sliding may not be more severe in stiff/strong buildings!
Notes: INJURY PHOTO

## Slide 88
1 in 500 year shaking
6. BUILDING STIFFNESS EFFECT

## Slide 89
Scenario Loss Assessment
(1 in 500 year shaking)
6. BUILDING STIFFNESS EFFECT

## Slide 90
Acceleration Sensitive Components
1 in 500 year shaking
Median Direct Repair Cost (% of initial)
6. BUILDING STIFFNESS EFFECT
Notes: Use Direct Repair Cost instead of Loss

## Slide 91
1 in 500 year shaking
Drift Sensitive Components
Median Direct Repair Cost (% of initial)
6. BUILDING STIFFNESS EFFECT
Notes: Use Direct Repair Cost instead of Loss

## Slide 92
41.0%
52.9%
6.1%
49.0%
16.8%
34.2%
1 in 500 year shaking
Median Direct Repair Cost ($ Million)
Total Repair Cost Deaggregation
6. BUILDING STIFFNESS EFFECT
Notes: Use Direct Repair Cost instead of Loss

## Slide 93
(i) Ground Motion
SEISMIC LOSS
ASSESSMENT FRAMEWORK
Rupture
FAULT
SITE
(ii) Response
(iii) Damage
(iv) Losses
Damage
Death/Injury
Downtime
Seismic Loss Assessment Tool (SLAT)
PEER (2006)
6. BUILDING STIFFNESS EFFECT

## Slide 94
For fair comparisons
Assumed to be built at the same location
Designed to same standards
Same non-structural content located on each floor
AND...
CASE STUDY BUILDINGS
6. BUILDING STIFFNESS EFFECT

## Slide 95
GROUND MOTION SELECTION
Suite of realistic ground motion records must represent the same hazard level for both structures
Ground motions selected using NZS1170.5
1.3s
2.0s
1 in 500 year event
Class C soil
Range of periods of interest
6. BUILDING STIFFNESS EFFECT

## Slide 96
4m
9@3.6m
3@7.35m
3.7m
3.7m
36.4m
Acceleration Demand:
ldemand = ln(0.12g)
zdemand = 0.4
10% in 50 years probability of exceedance for Sa(1.5s)
7. INJURY CONSIDERATIONS
Floor acceleration demand

## Slide 97: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
Notes: Combined effort
References at end
Available on website

## Slide 98: 8. RELATED STUDIES
b) Projectile Effects (Bruyere, MacRae and Yeow, 2014)
  Obstructed sliding then falling
Notes: Combined effort
References at end
Available on website